## 원가계산서 (2)
공 사 원 가 계 산 서
공 사 명 : 국제성모병원 외래진료센터 변경 설비공사
구 분 |  |  |  | 산 출 방 법 |  |  | 금 액 | 비 고
1. 순공사 원가 |  |  |  | [가+나+다] |  |  | 0
| 가. 재료비 | [5 empty] | 0
|  | 가-1. 직접재료비 |  |  |  |  | 0
| 나. 노무비 | [5 empty] | 0
|  | 나-1. 직접노무비 |  |  |  |  | 0
|  | 나-2. 간접노무비 |  | [나1] 의 |  | 12.6% | 0
| 다. 경비 | [5 empty] | 0
|  | 다-1. 산출경비 |  |  |  |  | 0
|  | 다-2. 산재보험료 |  | [나] 의 |  | 3.56% | 0
|  | 다-3. 고용보험료 |  | [나] 의 |  | 1.01% | 0
|  | 다-4. 국민건강보험료 |  | [나1] 의 |  | 3.545% | 0
|  | 다-5. 노인장기요양보험료 |  | [다4] 의 |  | 12.95% | 0
|  | 다-6. 국민연금보험료 |  | [나1] 의 |  | 4.5% | 0
|  | 다-7. 퇴직공제부금비 |  | [나1] 의 |  | 2.3% | 0
|  | 다-8. 산업안전보건관리비 |  | ※ 관급포함시 : ⓑ와ⓒ 비교후 적은금액 적용 |  |  | 0
|  |  | ⓐ.일반의경우 | [가+나1] 의 | 3.11% |  | 0
|  |  | ⓑ.ⓐ의 1.2배 |  |  |  | 0
|  |  | ⓒ.관급자재대 포함 | [가+나1+관급자재대] 의 | 3.11% |  | 0
|  | 다-9. 기타경비 |  | [가+나] 의 |  | 4.6% | 0
|  | 다-10. 공사이행보증서 발급수수료 |  | ([가+나1+다1] 의-140억원*0.019%)*공기(년)
|  | 다-11. 하도급 대금 지급보증서 발급수수료 |  | [가+나1+다1] 의 |  | 0.081% | 0
|  | 다-12. 건설기계대여대금지급보증서발급금액 |  | [가+나1+다1] 의 |  | 0.16% | 0
|  | 다-13. 환경보전비 |  | [가+나1+다1] 의 |  | 0.3% | 0
2. 일 반 관 리 비 |  |  |  | [1] 의 |  | 8% | 0
3. 이 윤 |  |  |  | [나+다+2]의 |  | 15% | 0
4. T. A. B 공 사
5. 총 원 가 |  |  |  | [1+2+3+4] |  |  | 0
6. 부 가 가 치 세 |  |  |  | [5]의 |  | 10% | 0
7. 총 계 |  |  |  | [5+6] |  |  | 0
8. 건설 폐기물 처리비
9. 시 설 분 담 금 | [6 empty] | 0
조 사 금 액 | [6 empty] | 0
관급자재대(도급자관급) | [6 empty] | 0
관급자재대(관급자관급) | [6 empty] | 0
총 공 사 비 | [6 empty] | 0

## 집계표
집 계 표
#REF!
공종 | 코드 | 품 명 | 규 격 | 단위 | 수량 | 재 료 비 |  | 노 무 비 |  | 경 비 |  | 합 계 |  | 비고
[6 empty] | 단가 | 금액 | 단가 | 금액 | 단가 | 금액 | 단가 | 금액
|  | 1. 뇌신경센터이전 |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
|  | 01. 기구류 철거공사(위생,공조) |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 02. 위생기구류 설치및 배관공사 |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 03 공조용 급,배기덕트 설치공사 |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 3. 여성센터 |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 01. 기구류 철거공사(위생,공조) |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 02. 위생기구류 설치공사 |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 03 급수급탕및 오배수배관공사 |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 04-1 EHP 기기 장비류 |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 04-2 EHP 설치 공사류 |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 04-3 EHP 설치 자동제어 시설공사(방재실 운영) |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 05. 공조용 급,배기덕트 설치공사 |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 4. 정신건강의학과 |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 01. 기구류 철거공사(위생,공조) |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 02. 위생기구류 설치공사 |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 03. 급수급탕및 오배수배관공사 |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 04. 공조용 급,배기덕트 설치공사 |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 05-1 EHP 이전설치 |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 05-2 EHP 이전설치 공사류 |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 05-3 EHP 설치 자동제어 시설공사(방재실 운영) |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 5. 비뇨의학과 |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 01. 기구류 철거공사(위생,공조) |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 02. 위생기구류 설치공사 |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 03 급수급탕및 오배수배관공사 |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 04. 공조용 급,배기덕트 설치공사 |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 05-1 EHP 이전.신규설치 |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 05-2 EHP 이전.신규 설치 공사류 |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 05-3 EHP 설치 자동제어 시설공사(방재실 운영) |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 6. 통증클리닉 |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 01. 기구류 철거공사(위생,공조) |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 02. 위생기구류 설치공사 |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 03 급수급탕및 오배수배관공사 |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 04. 공조용 급,배기덕트 설치공사 |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 05-1 EHP 이전.신규설치 |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 05-2 EHP 이전.신규 설치 공사류 |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 05-3 EHP 설치 자동제어 시설공사(방재실 운영) |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 7. 신장센터 가정의학 |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 01. 기구류 철거공사(위생,공조) |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 02. 위생기구류 설치공사 |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 03. 급수, 배수배관공사 |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 04. 공조용 급,배기덕트 설치공사 |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 05-1 EHP 이전설치 |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 06-2 EHP 이전설치 공사류 |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 06-3 EHP 설치 자동제어 시설공사(방재실 운영) |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 8. 투석실 |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 01. 위생기구류 설치공사 |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 02. 급수, 배수배관공사 |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 03. 정수실 단독 부스터펌프 배관공사(기계실 부터 정수실까지) |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 04. 정수실 정수배관공사 (정수실 ~ 투석장비) |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 05. 공조용 급,배기덕트 설치공사 |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 06-1 EHP 기기 장비류 |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 06-2 EHP 설치 공사류 |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 06-3 EHP 설치 자동제어 시설공사(방재실 운영) |  | 식 | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | 합 계 |  |  |  |  | 0 |  | 0 |  | 0 |  | 0

## 내역서
내 역 서
#REF!
품 명 | 규 격 | 단위 | 수량 | 재 료 비 |  | 노 무 비 |  | 경 비 |  | 합 계 |  | 비고
|  |  |  | 단가 | 금액 | 단가 | 금액 | 단가 | 금액 | 단가 | 금액
1. 뇌신경센터이전
01. 기구류 철거공사(위생,공조)
세면기 철거 |  | 조 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
싱크대 철거 |  | 조 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
원형 디퓨쟈 철거 |  | EA | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기존배관 하부마감처리 |  | 조 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
플렉시블덕트 철거 | Φ200mm | 개소 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
폐기물처리 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기타 잡자재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
인건비 | 배관공 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
02. 위생기구류 설치및 배관공사
세면기 |  | 조 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
세면기용 혼합가랑 |  | SET | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
세면기 부속재 |  | SET | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
거울,수건걸이,비누대 |  | SET | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
코아 작업 | 급수,온수,배수 | SET | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기타 잡자재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
인건비 | 배관공 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
03 공조용 급,배기덕트 설치공사
원형 디퓨쟈 |  | EA | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
사각 디퓨쟈 | 600x600 | EA | 3 | [8 empty] | (도장 재설치)
덕트 링직설치 | Φ200mm | EA | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
플렉시블덕트(보온) | Φ200mm | ROOL | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
스텐밴드 | Φ200mm | EA | 46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기타 잡자재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
인건비 | 배관공 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
[ 합 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
3. 여성센터
01. 기구류 철거공사(위생,공조)
세면대 철거 |  | 조 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
싱크대 철거 |  | 조 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
원형 디퓨쟈 철거 |  | EA | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기존배관 하부마감처리 |  | 조 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
플렉시블덕트 철거 |  | 개소 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
폐기물처리 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기타 잡자재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
인건비 | 배관공 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
02. 위생기구류 설치공사
세면기 |  | 조 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
씽크대 |  | 조 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
마블용 세면기(파우더데스크) | 건축공사분(인테리어 제작) | 조 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
오물처리용 수채 |  | 조 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
세면기용 혼합가랑 |  | SET | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
씽크대용 혼합가랑 |  | SET | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
세면기 부속재 |  | SET | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
거울,수건걸이,비누대 |  | SET | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기타 잡자재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
인건비 | 배관공 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
03 급수급탕및 오배수배관공사
배관용스테리스강관 | SUS(K-TYPE) | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PVC파이프(VG1) |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
잡재료비 | 관의 3% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
관보온 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SR 부속재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기타PVC 부속재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기타SR 부속재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
볼밸브류 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
코아 작업 | 급수,온수,배수 | SET | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기타 잡자재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
인건비 | 배관공 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
04 시스템냉난방기 설치공사(고정압 덕트형)
04-1 EHP 기기 장비류
시스템냉난방기( 덕트형) |  | 대 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
냉난방 실외기 |  | 대 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
냉난방 실외기 방진가대 |  | 대 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
실내기 분기덕트(보온 4구) |  | 대 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
원형 디퓨쟈 |  | EA | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
플렉시블덕트(보온) | Φ200mm | ROOL | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
유선리모컨 (냉난방) |  | 대 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Y분지관 |  | 대 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
후랙시블(타포린 보온) |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
덕트 부자재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
잡자재비 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기계설비공 | 일반공사 직종 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
덕트공 | 일반공사 직종 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
04-2 EHP 설치 공사류
동관 (L-TYPE) 자재류 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
동관 보온재 (EPDM)류 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
동관 용접 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
동관 부속품 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
드레인관 (PVC) |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
드레인관 보온재 (가교PE+은박) |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
드레인관 부속품 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
유선리모컨 통신선 | 22AWG*3C | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
실내외기연결 통신선 | CVV-SB 1.5*2C | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
실내기 전원선 | CV 2.5*3C | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CD 전선관 | 16C | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
전산볼트 시공 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
냉매가스 | R410 | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
장비 시운전 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
배관 기밀시험 | 2회실시 | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
잡자재비 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
벽체코어 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
장비사용료 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
배관공 | 일반공사 직종 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
용접공 | 일반공사 직종 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
통신내선공 | 일반공사 직종 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
04-3 EHP 설치 자동제어 시설공사(방재실 운영)
제어 시스템 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
접점중계기 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
제어용 통신선 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
잡자재비 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
통신내선공 | 일반공사 직종 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
05. 공조용 급,배기덕트 설치공사
원형 디퓨쟈 |  | EA | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
사각 디퓨쟈 | 600x600 | EA | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
덕트 링직설치 | Φ200mm | EA | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
플렉시블덕트(보온) | Φ200mm | ROOL | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
스텐밴드 | Φ200mm | EA | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기타 잡자재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
인건비 | 배관공 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
[ 합 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
4. 정신건강의학과
01. 기구류 철거공사(위생,공조)
씽크대 철거 |  | 조 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
원형 디퓨쟈 철거 |  | EA | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기존배관 하부마감처리 |  | 조 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
플렉시블덕트 철거 |  | 개소 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
폐기물처리 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기타 잡자재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
인건비 | 배관공 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
02. 위생기구류 설치공사
세면기 |  | 조 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
세면기용 혼합가랑 |  | SET | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
세면기 부속재 |  | SET | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
거울,수건걸이,비누대 |  | SET | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기타 잡자재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
인건비 | 배관공 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
03. 급수급탕및 오배수배관공사
배관용스테리스강관 | SUS(K-TYPE) | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PVC파이프(VG1) |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
잡재료비 | 관의 3% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
관보온 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SR 부속재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기타PVC 부속재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기타SR 부속재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
볼밸브류 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
코아 작업 | 급수,온수,배수 | SET | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기타 잡자재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
인건비 | 배관공 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
04. 공조용 급,배기덕트 설치공사
원형 디퓨쟈 |  | EA | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
덕트 링직설치 | Φ200mm | EA | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
플렉시블덕트(보온) | Φ200mm | ROOL | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
스텐밴드 | Φ200mm | EA | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기타 잡자재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
인건비 | 배관공 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
05-1 EHP 이전설치
시스템냉난방기시스템 에어컨 | 1way | 대 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
유선리모컨 (냉난방) |  | 대 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
잡자재비 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기계설비공 | 일반공사 직종 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
05-2 EHP 이전설치 공사류
동관 (L-TYPE) 자재류 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
동관 보온재 (EPDM)류 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
동관 용접 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
동관 부속품 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
드레인관 (PVC) |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
드레인관 보온재 (가교PE+은박) |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
드레인관 부속품 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
유선리모컨 통신선 | 22AWG*3C | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
실내외기연결 통신선 | CVV-SB 1.5*2C | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
실내기 전원선 | CV 2.5*3C | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CD 전선관 | 16C | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
전산볼트 시공 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
냉매가스 | R410 | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
장비 시운전 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
배관 기밀시험 | 2회실시 | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
잡자재비 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
벽체코어 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
장비사용료 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
배관공 | 일반공사 직종 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
용접공 | 일반공사 직종 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
통신내선공 | 일반공사 직종 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
05-3 EHP 설치 자동제어 시설공사(방재실 운영)
제어 시스템 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
접점중계기 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
제어용 통신선 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
잡자재비 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
통신내선공 | 일반공사 직종 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
[ 합 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
5. 비뇨의학과
01. 기구류 철거공사(위생,공조)
세면기 철거 |  | 조 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
원형 디퓨쟈 철거 |  | EA | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기존배관 하부마감처리 |  | 조 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
플렉시블덕트 철거 |  | 개소 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
폐기물처리 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기타 잡자재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
인건비 | 배관공 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
02. 위생기구류 설치공사
세면기 |  | 조 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
오물처리용 수채 |  | 조 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
오물처리대 |  | 조 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
세면기, 오물처리용 혼합가랑 |  | SET | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
세면기 부속재 |  | SET | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
거울,수건걸이,비누대 |  | SET | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기타 잡자재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
인건비 | 배관공 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
03 급수급탕및 오배수배관공사
배관용스테리스강관 | SUS(K-TYPE) | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PVC파이프(VG1) |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
잡재료비 | 관의 3% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
관보온 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SR 부속재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기타PVC 부속재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기타SR 부속재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
볼밸브류 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
코아 작업 | 급수,온수,배수 | SET | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기타 잡자재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
인건비 | 배관공 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
04. 공조용 급,배기덕트 설치공사
원형 디퓨쟈 |  | EA | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
단독배기덕트 설치(오물처리실) | Φ200mm | 개소 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
덕트 링직설치 | Φ200mm | EA | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
플렉시블덕트(보온) | Φ200mm | ROOL | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
스텐밴드 | Φ200mm | EA | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기타 잡자재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
인건비 | 배관공 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
05-1 EHP 이전.신규설치
시스템냉난방기시스템 에어컨(이전) | 1way | 대 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
시스템냉난방기시스템 에어컨(신규) | 1way | 대 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
냉난방 실외기 |  | 대 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
냉난방 실외기 방진가대 |  | 대 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
유선리모컨 (냉난방) |  | 대 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
잡자재비 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기계설비공 | 일반공사 직종 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
05-2 EHP 이전.신규 설치 공사류
동관 (L-TYPE) 자재류 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
동관 보온재 (EPDM)류 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
동관 용접 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
동관 부속품 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
드레인관 (PVC) |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
드레인관 보온재 (가교PE+은박) |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
드레인관 부속품 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
유선리모컨 통신선 | 22AWG*3C | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
실내외기연결 통신선 | CVV-SB 1.5*2C | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
실내기 전원선 | CV 2.5*3C | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CD 전선관 | 16C | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
전산볼트 시공 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
냉매가스 | R410 | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
장비 시운전 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
배관 기밀시험 | 2회실시 | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
잡자재비 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
벽체코어 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
장비사용료 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
배관공 | 일반공사 직종 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
용접공 | 일반공사 직종 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
통신내선공 | 일반공사 직종 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
05-3 EHP 설치 자동제어 시설공사(방재실 운영)
제어 시스템 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
접점중계기 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
제어용 통신선 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
잡자재비 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
통신내선공 | 일반공사 직종 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
[ 합 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
6. 통증클리닉
01. 기구류 철거공사(위생,공조)
세면기 철거 |  | 조 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
양변기 철거 |  | 조 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
씽크대 철거 |  | 조 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
원형 디퓨쟈 철거 |  | EA | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기존배관 하부마감처리 |  | 조 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
플렉시블덕트 철거 |  | 개소 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
폐기물처리 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기타 잡자재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
인건비 | 배관공 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
02. 위생기구류 설치공사
세면기 |  | 조 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
세척실. 처치실용 씽크대 |  | 조 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
세면기 혼합가랑 |  | SET | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
세척실. 처치실용 씽크대혼합가랑 |  | 조 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
세면기 부속재 |  | SET | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
거울,수건걸이,비누대 |  | SET | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기타 잡자재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
인건비 | 배관공 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
03 급수급탕및 오배수배관공사
배관용스테리스강관 | SUS(K-TYPE) | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PVC파이프(VG1) |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
잡재료비 | 관의 3% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
관보온 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SR 부속재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기타PVC 부속재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기타SR 부속재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
볼밸브류 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
코아 작업 | 급수,온수,배수 | SET | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기타 잡자재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
인건비 | 배관공 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
04. 공조용 급,배기덕트 설치공사
원형 디퓨쟈 |  | EA | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
사각 디퓨져(도장 후 재설치) | 600x600 | EA | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
단독배기덕트 설치 | Φ200mm | 개소 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
덕트 링직설치 | Φ200mm | EA | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
플렉시블덕트(보온) | Φ200mm | ROOL | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
스텐밴드 | Φ200mm | EA | 64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기타 잡자재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
인건비 | 배관공 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
05-1 EHP 이전.신규설치
시스템냉난방기시스템 에어컨(이전) | 1way | 대 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
시스템냉난방기시스템 에어컨(신규) | 1way | 대 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
냉난방 실외기 |  | 대 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
냉난방 실외기 방진가대 |  | 대 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
유선리모컨 (냉난방) |  | 대 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
잡자재비 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기계설비공 | 일반공사 직종 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
05-2 EHP 이전.신규 설치 공사류
동관 (L-TYPE) 자재류 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
동관 보온재 (EPDM)류 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
동관 용접 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
동관 부속품 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
드레인관 (PVC) |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
드레인관 보온재 (가교PE+은박) |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
드레인관 부속품 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
유선리모컨 통신선 | 22AWG*3C | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
실내외기연결 통신선 | CVV-SB 1.5*2C | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
실내기 전원선 | CV 2.5*3C | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CD 전선관 | 16C | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
전산볼트 시공 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
냉매가스 | R410 | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
장비 시운전 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
배관 기밀시험 | 2회실시 | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
잡자재비 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
벽체코어 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
장비사용료 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
배관공 | 일반공사 직종 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
용접공 | 일반공사 직종 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
통신내선공 | 일반공사 직종 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
05-3 EHP 설치 자동제어 시설공사(방재실 운영)
제어 시스템 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
접점중계기 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
제어용 통신선 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
잡자재비 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
통신내선공 | 일반공사 직종 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
[ 합 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
7. 신장센터 가정의학
01. 기구류 철거공사(위생,공조)
세면기 철거 |  | 조 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
원형 디퓨쟈 철거 |  | EA | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기존배관 하부마감처리 |  | 조 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
플렉시블덕트 철거 |  | 개소 | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
폐기물처리 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기타 잡자재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
인건비 | 배관공 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
02. 위생기구류 설치공사
세면기 |  | 조 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
세면기 혼합가랑 |  | SET | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
세면기 부속재 |  | SET | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
거울,수건걸이,비누대 |  | SET | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기타 잡자재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
인건비 | 배관공 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
03. 급수, 배수배관공사
배관용스테리스강관 | SUS(K-TYPE) | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PVC파이프(VG1) |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
잡재료비 | 관의 3% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
관보온 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SR 부속재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기타PVC 부속재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기타SR 부속재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
볼밸브류 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
코아 작업 | 급수,온수,배수 | SET | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기타 잡자재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
인건비 | 배관공 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
04. 공조용 급,배기덕트 설치공사
원형 디퓨쟈 |  | EA | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
덕트 링직설치 | Φ200mm | EA | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
플렉시블덕트(보온) | Φ200mm | ROOL | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
스텐밴드 | Φ200mm | EA | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기타 잡자재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
인건비 | 배관공 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
05-1 EHP 이전설치
시스템냉난방기시스템 에어컨 | 4way | 대 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
시스템냉난방기시스템 에어컨 | 1way | 대 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
유선리모컨 (냉난방) |  | 대 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
잡자재비 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기계설비공 | 일반공사 직종 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
06-2 EHP 이전설치 공사류
동관 (L-TYPE) 자재류 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
동관 보온재 (EPDM)류 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
동관 용접 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
동관 부속품 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
드레인관 (PVC) |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
드레인관 보온재 (가교PE+은박) |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
드레인관 부속품 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
유선리모컨 통신선 | 22AWG*3C | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
실내외기연결 통신선 | CVV-SB 1.5*2C | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
실내기 전원선 | CV 2.5*3C | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CD 전선관 | 16C | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
전산볼트 시공 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
냉매가스 | R410 | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
장비 시운전 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
배관 기밀시험 | 2회실시 | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
잡자재비 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
벽체코어 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
장비사용료 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
배관공 | 일반공사 직종 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
용접공 | 일반공사 직종 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
통신내선공 | 일반공사 직종 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
06-3 EHP 설치 자동제어 시설공사(방재실 운영)
제어 시스템 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
접점중계기 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
제어용 통신선 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
잡자재비 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
통신내선공 | 일반공사 직종 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
[ 합 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
8. 투석실
01. 위생기구류 설치공사
세면기 |  | 조 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
세면기 혼합가랑 |  | SET | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
세면기 부속재 |  | SET | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
거울,수건걸이,비누대 |  | SET | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
코아 작업 | 급수,온수,배수 | SET | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기타 잡자재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
인건비(주간작업) | 배관공 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
02. 급수, 배수배관공사
배관용스테리스강관 | SUS(K-TYPE) | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PVC파이프(VG1) |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
잡재료비 | 관의 3% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
관보온 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기타PVC 부속재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기타SR 부속재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
볼밸브류 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
투석용 배관 설치(아웃렛 내부 급수,드레인 설치) |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기타 잡자재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
인건비 | 배관공 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
03. 정수실 단독 부스터펌프 배관공사(기계실 부터 정수실까지)
장비기초 설치공사 | Chipping,Anchor,Concrete,Epoxy | LOT | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pump |  | EA | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
- Type : Vertical 다단
- Power : 380V * 2.2KW
- Maker : Grunfos or EQBT
- Material : SUS304
- Flowrate : 50LPM
- Heade : 90m
- Q'ty : 3set(1P+2S)
- Control : Boosting System 적용
- Others : Surge Tank 적용
Pump Skid 제작 | Header,Valve,Surge Tank | SET | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Control Panel |  | SET | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
-SUS304, Inverter Type, 토출압력센서
Hot Tapping(부단수분기) | SPP 200A --> 50A | EA | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gate Valve | 주강,10Kg/cm2,BB Type,FLN | EA | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Flange | SS400,10Kg/cm2,FF | EA | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Flange | SUS304,10Kg/cm2,FF | EA | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reducer | SUS304#10,BWD | EA | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Check Valve | SUS304,10K/cm2,판체크,Screw | EA | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Strainer | SUS304,10K/cm2,Screw | EA | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ball Valve | SUS304,10K/cm2,2PC | EA | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pipe | SUS304#10 | 본 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Elbow | SUS304#10,BWD | EA | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tee | SUS304#10,BWD | EA | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Flange | SUS304,10Kg/cm2,FF | EA | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Flange Gasket | EPDM 3t,FF | EA | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tee | Clean PCV | EA | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Valve Socket | Clean PCV | EA | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Union | SUS304,Screw | EA | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ball Valve | SUS304,10K/cm2,2PC | EA | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Check Valve | SUS304,10K/cm2,2PC | EA | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nipple-편 | SUS304#10 | EA | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Floor Cutting | Concrete | EA | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Support Material |  | LT | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Consumable Material | Material Cost**3~7% | LOT | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tool Loss Fee | Labor Cost*1~3% | LOT | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Labor Cost | Site Manager | MD | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Plumber | MD | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Welder | MD | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Helper | MD | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
04. 정수실 정수배관공사 (정수실 ~ 투석장비)
정수용 PE배관 | 정수실 ~ 투석장비 | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
관보온 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
정수용 PE배관 부속재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
커넥터류 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
볼밸브류 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
코아 작업 |  | 개소 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기타 잡자재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
인건비 | 배관공 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
05. 공조용 급,배기덕트 설치공사
원형 디퓨쟈 |  | EA | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
덕트 링직설치 | Φ200mm | EA | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
플렉시블덕트(보온) | Φ200mm | ROOL | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
스텐밴드 | Φ200mm | EA | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기타 잡자재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
인건비 | 배관공 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
06-1 EHP 기기 장비류
시스템냉난방기시스템 에어컨 | 4way | 대 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
시스템냉난방기시스템 에어컨 | 1way | 대 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
냉난방 실외기 |  | 대 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
냉난방 실외기 방진가대 |  | 대 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
유선리모컨 (냉난방) |  | 대 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
덕트 부자재 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
잡자재비 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
기계설비공 | 일반공사 직종 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
06-2 EHP 설치 공사류
동관 (L-TYPE) 자재류 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
동관 보온재 (EPDM)류 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
동관 용접 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
동관 부속품 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
드레인관 (PVC) |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
드레인관 보온재 (가교PE+은박) |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
드레인관 부속품 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
유선리모컨 통신선 | 22AWG*3C | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
실내외기연결 통신선 | CVV-SB 1.5*2C | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
실내기 전원선 | CV 2.5*3C | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CD 전선관 | 16C | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
전산볼트 시공 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
냉매가스 | R410 | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
장비 시운전 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
배관 기밀시험 | 2회실시 | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
잡자재비 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
벽체코어 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
장비사용료 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
배관공 | 일반공사 직종 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
용접공 | 일반공사 직종 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
통신내선공 | 일반공사 직종 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
06-3 EHP 설치 자동제어 시설공사(방재실 운영)
제어 시스템 | (기존 실내기 4대 포함) | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
접점중계기 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
제어용 통신선 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
잡자재비 |  | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
통신내선공 | 일반공사 직종 | 인 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
공구손료 | 노무비의 2% | 식 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[ 소 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0
[ 합 계 ] |  |  |  |  | 0 |  | 0 |  | 0 |  | 0